Mechanical height measure
MZ10017

Roll-up metal length measuring tape for wall mounting. Small, space saving device  for quick and fast height measuring of patients up to 2200 mm. The reading is done at the indicator line in the display window.

Technical specification:

Measuring range                                             0-2200 mm

Graduation                                                                 1 mm

Dimensions                                         140 x 35 x 130 mm

Weight approx.                                                          180 g