Electronic floor scale
M322600

The perfect scale for daily use at Hospitals, Clinics and GPs offices. Strong and sturdy construction with a total capacity of 250 kg and a fine graduation of 100 g. The turning display allows the reading from both sides of the display.  Battery operation as standard – optionally is a mains adapter available for maximum flexibility.

Technical specification:

Capacity:                 250  kg	                                 Function: Mother and child weighing, turning display, auto switch off

Graduation:            100 g                                     Power supply: 4 x AA batteries

Dimensions:           400 x 350 x 44 mm             Battery life time approx. 4000 cycles

Weight                    3,8 kg                                    Levelling feet

Tap on start function