Electronic floor scale
M317600

Electronic floor scale with a sold ABS housing and a capacity of 200 kg. The step on technique combined with the auto-hold function makes the reading on the large LCD display effortless and comfortable.

Technical specification:

Capacity:                 200kg

Function:                 Automatic zero setting, low battery indication,

auto switch off, auto-hold, step on function

Graduation:            100 g

Dimensions:           355 x 345 x 35 mm

Weight:                   2,4 kg

Power supply:       4 x AAA batteries