Mechanical  physician scale
M318300 CE class III approved

- Solid and robust all steal construction with heavy duty cast iron lever system

- Reading from either side at eye level

- Large base with non slip cover

- Telescopic height rod up to 210 cm by 1 mm graduation

- 2 castors for mobile use

Technical specification:

Capacity:                  200 kg

Graduation:             100 g

Dimensions:            280 x 560  x 1470 mm

Weight;                    15 kg

Platform size:	   275 x 375 mm

Measuring range:  60 – 210 cm by 1 mm