Mechanical  floor scale
M309800

Best value for the quick and routine day to day weighing. Fast and simple to use with a capacity of 150 kg and a metal housing covered with a vinl non-slip mat for long lasting trouble-free use.

Technical specification:

Capacity:                 150 kg

Graduation:            500 g

Dimensions:           320 x 435 x 70 mm

Weight;                   2,8 kg

Platform size:	  280 x 290 mm

Functions:	  Zero setting