Baby length measuring mat
MZ10027-1

Ideally suitable for the portable use to measure the length of babies fast and comfortable. Made of skin-friendly, easy to clean hygienic material. Resistant against all common soft disinfection fluids. Reading in cm only.

Technical specification:

Measuring range                                        100-1000 mm

Graduation                                                                 5 mm

Dimensions                                       1260 x 280 x 90 mm

Weight approx.                                                          585 g