Telescopic height measure
MZ10023-3

Telescopic height measure for wall mounting. The foot positioner guarantees correct standing of the patient for accurate measurements. The range of 60 – 2100 mm covers the length of children and adults.  A foldable safety head piece completes this unit.

Technical specification:

Measuring range                                          60-2100 mm

Graduation                                                                 1 mm

Dimensions                                           93 x 435 x 35 mm

Weight approx.                                                         1,0 kg