Mechanical stadiometer
MZ10038

The mechanical free standing telescopic stadiometer mounted on a metal platform with a measuring range up to 2100 mm is an ideal unit for the height measurement of children through to adults.

Technical specification:

Measuring range                                        600-2100 mm

Graduation                                                                 1 mm

Dimensions                                       880 x 450 x 350 mm

Weight approx.                                                         6,2 kg