Electronic floor scale
M320600

The perfect scale for daily use at Hospitals, Clinics and GPs offices. Strong and sturdy construction with a total capacity of 250 kg and a fine graduation of 50 g. The turning display allows the reading from both sides of the display.  Mains and battery operated for maximum flexibility.  A  BMI function is integrated as standard function.

Technical specification:

Capacity:                 250  kg	                                 Function: BMI calculation, mother and child weighing, turning display,

Graduation:            50g <50 kg> 100 g              Hold & auto-hold, auto switch off

Dimensions:           400 x 350 x 44 mm             Power supply: 4 x AA batteries and mains Battery life time approx. 4000 cycles

Weight:                  3,8 kg                                     Levelling feet

Main all off switch                                               Tap on start function