Baby length measuring board
MZ10040

Perfectly suited for the mobile and stationary use. The two pieces of the measuring board are quickly clipped together and again disassembled allowing a space-saving storages or transport. The foot stop and the measuring boards are hold firmly together by just one patent clip mechanism. A skin-friendly even surface allows an easy cleaning of all parts. The smoothly running foot stop, guided by a central rail measures accurately to 1 mm. With a measuring range up to 100 cm even larger infants can be measures.

Optionally available is al lightweight carry bag

Technical specification:

Measuring range                                        100-1000 mm

Graduation                                                                 1 mm

Dimensions                                       1260 x 280 x 90 mm

Weight approx.                                                          585 g