Declaration of Conformity to Council Directive 93/42   EEC (Including Directive 2007/47/EEC) Concerning Medical Devices

Manufacturer:	              Shenzhen Luckcome Technology Inc., Ltd.

Floor 6A, 6th Building, Tongfuyu Industrial Park，Nanshan District, Shenzhen, Guangdong, China, 518055

European Representative:   Shanghai International Holding Corp. GmbH (Europe)

Add: Eiffestrasse 80, 20537 Hamburg，Germany

Product:		              Fetal/Maternal Monitor

Model：                         L8、L8A、L8M、L8ME、L8P

Classification:              II a (Rule 10 of Annex IX, MDD)

Conformity assessment route:   Annex II excluding (4)

We, the manufacturer, herewith declare under our sole responsibility that the stated medical devices meet the transposition into national law, the provisions of Council Directive 93/42/EEC of 14 June, 1993, concerning medical devices; including the amendments by Council Directive 2007/47/EEC. All supporting documentation is retained at the premises of the manufacturer.

The validity period of this declaration of conformity is limited by the issuing of a revised declaration of conformity after change of the product and/or by the expiration date of the related Annex II certificate issued by the notified body.

Standards applied: Applied Standards List (attached) for which documented evidence of compliance can be provided.

Notified Body:                  MEDCERT GmbH

Pilatuspool 2, D-20355 Hamburg, Germany

Identification Number:	       0482

(EC) Certificate(s):             6016GB410190923

Start of CE-marking:           15 October, 2010

Place, Date of Issue:           27 September, 2019

Signature:                	   Name： ____________________

Position：General Manager

List of Harmonized standard

| No. | Standard Name | Reference No. |
| --- | --- | --- |
| 1 | Medical device risk management to medical devices application | EN ISO 14971:2012 |
| 2 | Symbol for the label of medical devices | EN ISO 15223-1:2016 |
| 3 | Term, symbol and information of medical device— information of medical device manufacturer offering | EN 1041:2008+A1:2013 |
| 4 | Medical electrical equipment — Part 1: General requirements for basic safety and essential performance | EN 60601-1:2006 / A1:2013 |
| 5 | Medical electrical equipment - Part 1-2: General requirements for safety - Collateral standard: Electromagnetic compatibility - Requirements and tests | EN 60601-1-2:2015 |
| 6 | Medical electrical equipment -- Part 1-6: General requirements for basic safety and essential performance - Collateral standard: Usability | EN 60601-1-6:2010 |
| 7 | Medical electrical equipment Part 2-37: Particular requirements for the safety of ultrasonic medical diagnostic and monitoring equipment | EN 60601-2-37:2008 |
| 8 | Medical electrical equipment -- Part 2-56: Particular requirements for basic safety and essential performance of clinical thermometers for body temperature measurement | EN ISO 80601-2-56:2017 |
| 9 | Non-invasive sphygmomanometers - Part 3: Supplementary requirements for electro-mechanical blood pressure measuring systems | EN 1060-3:1997+A2:2009 |
| 10 | Requirements for the declaration of the acoustic output of medical diagnostic ultrasonic equipment | IEC 61157:2013 |
| 11 | Biological evaluation of medical devices - Part 1: Evaluation and testing within a risk management process | EN ISO 10993-1:2009/AC:2010 |
| 12 | Biological evaluation of medical devices - Part 5: Tests for in vitro cytotoxicity | EN ISO 10993-5:2009 |
| 13 | Biological evaluation of medical devices Part 10: Tests for irritation and skin sensitization | EN ISO 10993-10:2013 |
| 14 | Medical device software - Software life-cycle processes | EN 62304:2006+A1:2015 |
| 15 | Packaging-Pictorial marking for handling of goods | ISO 780 :2015 |
| 16 | Standard Test Method to Determine Efficacy of Disinfection Processes for Reusable Medical Devices (Simulated Use Test) | ASTM E 1837 – 96 (Reapproved 2002) |
| 17 | Non-invasive sphygmomanometers - Part 4: Test procedures to determine the overall system accuracy of automated non-invasive sphygmomanometers | EN 1060-4:2004 |
| 18 | Medical electrical equipment -- Part 2-30: Particular requirements for basic safety and essential performance of automated non-invasive sphygmomanometers | IEC 80601-2-30:2018 |
| 19 | Medical electrical equipment -- Part 2-61: Particular requirements for basic safety and essential performance of pulse oximeter equipment | ISO 80601-2-61:2017 |
| 20 | Medical electrical equipment -- Part 1-8: General requirements for basic safety and essential performance - Collateral Standard: General requirements, tests and guidance for alarm systems in medical electrical equipment and medical electrical systems | IEC 60601-1-8:2012 |
| 21 | Medical electrical equipment -- Part 2-49: Particular requirements for the safety of multifunction patient monitoring equipment | EN 60601-2-49:2015 |
| 22 | Medical electrical equipment - Part 2-27: Particular requirements for the safety, including essential performance, of electrocardiographic monitoring equipment | EN 60601-2-27:2006/AC:2006 |
| 23 | Medical devices - Application of usability engineering to medical devices | EN 62366:2008 |
| 24 | Clinical evaluation: a guide for manufacturers and notified bodies under directives 93/42 and 90/385 | MEDDEV 2.7/1 rev.4 |
| 25 | Guidance document - Market surveillance - Guidelines on a Medical Devices Vigilance System | MEDDEV 2.12/1 rev.8 |